**Cummins 2000 KW genERATOR setS**

**Model QSK60 G8**

**Diesel**

**New surplus**

**1820 KW**

**2250 kVa**

**3 phase**

**50 Hz**

**415 Volt**

**PCC 3201 Control System**

**Tier 3 rating**

**Zero hours**

**Made in Europe**

**Warranty: World Wide Cummins Warranty of 12 months.**

**Standard Equipment:**

**- Heavy-duty diesel tested engine.**

**- Stamford single-bearing class H alternator, solid state AVR.**

**- Steel base skid with anti-vibration mounts**

**- Electric starter and charging alternator.**

**- Radiator with fan and guard.**

**- Dry type air filter.**

**- Battery, battery cables and rack.**

**- Industrial type silencer steel bellows with clamps and rain cap.**

**- Block heater.**

**- Battery charger.**

**Available Options**

**Weather proof enclosure Cummins Onan**

**Weather proof Canopy around**

**75 dBA at 1 meter from Generator**

**Fuel tank 975 Liters**